## Page 1 - Table 1
Sno | Particulars | Units | Amount
1 | Electrical Unit Charges @ RS 8.00 | 11861.85 | 94894.80
2 | DG Unit Charges @ RS 30.04 | 76.25 | 2290.55
3 | Common Area Charges | 0.00 | 5580.13
4 | Peak Hour Charges | -- | 0.00
5 | Maximum Demand Charges @ RS 350.00 | 65.00 | 22750.00
6 | Meter Rent | -- | 500.00
7 | Electricity Tax | -- | 5882.24
8 | Water Charges | -- | 4578.60
9 | Other Charges(+/-) | -- | 0.00
10 | Penalty Charges | -- | 0.00
Total Rs |  |  | 136476

## Page 2 - Table 1
| EB Consumption |  |  | DG Consumption
Meter Name | Opening Reading | Closing Reading | Consumed Units | Opening Reading | Closing Reading | Consumed Units
GND FLOOR B LIGHTING[G-3] | 25227.00 | 25675.00 | 448.00 | 0.00 | 0.00 | 0.00
GND FLOOR B LIGHTING-2[G-4] | 1401.00 | 1485.00 | 84.00 | 0.00 | 0.00 | 0.00
GND FLOOR B LIGHTING-3[G-5] | 0.00 | 0.00 | 0.00 | 0.00 | 0.00 | 0.00
GND FLOOR B POWER[G-6] | 11507.00 | 11943.00 | 436.00 | 0.00 | 0.00 | 0.00
GND B AHU-1[G-7] | 8842.00 | 9389.00 | 547.00 | 0.00 | 0.00 | 0.00
GND FLOOR B AHU-2[G-8] | 4833.00 | 5215.00 | 382.00 | 0.00 | 0.00 | 0.00
GND FLOOR B UPS[G-9] | 35000.00 | 36060.00 | 1060.00 | 0.00 | 0.00 | 0.00
EB Consumed Units |  |  | 2957 | DG Consumed Units |  | 0

## Page 3 - Table 1
Meter Name | EB Start Hr:Mi | EB End Hr:Mi | EB Hours | DG Start Hr:M i | DG End Hr:M i | DG Hour s | Tonnag e | EB- Tonn Hours | DG- Tonn Hour s | EB- Units | DG- Unit s | Water Charge s
GND B AHU-1 | 6348 : 0 | 6537 : 0 | 189.0 0 | 0 : 0 | 0 : 0 | 0.00 | 15.00 | 2835.0 0 | 0.00 | 2891.7 0 | 0.00 | 1474.20
GND FLOO R B AHU-2 | 4505 : 0 | 4608 : 0 | 103.0 0 | 0 : 0 | 0 : 0 | 0.00 | 30.00 | 3090.0 0 | 0.00 | 3151.8 0 | 0.00 | 1606.80
1ST FL FCU- 10 | 1949 3 : 0 | 2021 3 : 0 | 720.0 0 | 0 : 0 | 0 : 0 | 0.00 | 2.00 | 1440.0 0 | 0.00 | 1468.8 0 | 0.00 | 748.80
1ST FL FCU- 11 | 1979 2 : 0 | 2051 2 : 0 | 720.0 0 | 0 : 0 | 0 : 0 | 0.00 | 2.00 | 1440.0 0 | 0.00 | 1468.8 0 | 0.00 | 748.80
Total |  |  | 1732 |  |  | 0 |  | 8805 | 0 | 8981.1 | 0 | 4578.6

## Page 4 - Table 1
Percentage(%) Of Load | 3.45 %
Date | DG Units
01/04/2022 | 0.00
02/04/2022 | 0.00
03/04/2022 | 0.00
04/04/2022 | 0.00
05/04/2022 | 0.00
06/04/2022 | 0.00
07/04/2022 | 0.00
08/04/2022 | 0.00
09/04/2022 | 0.00
10/04/2022 | 0.00
11/04/2022 | 0.00
12/04/2022 | 0.00
13/04/2022 | 0.00
14/04/2022 | 0.00
15/04/2022 | 0.00
16/04/2022 | 0.00
17/04/2022 | 0.00
18/04/2022 | 0.00
19/04/2022 | 0.00
20/04/2022 | 0.00
21/04/2022 | 18.29
22/04/2022 | 0.00
23/04/2022 | 57.96
24/04/2022 | 0.00
25/04/2022 | 0.00
26/04/2022 | 0.00
27/04/2022 | 0.00
28/04/2022 | 0.00
29/04/2022 | 0.00
30/04/2022 | 0.00
Total | 76.25

## Page 5 - Table 1
Sno | Particulars | Units | Amount
1 | Electrical Unit Charges @ RS 8.00 | 14644.07 | 117152.56
2 | DG Unit Charges @ RS 30.04 | 93.93 | 2821.66
3 | Common Area Charges | 0.00 | 0.00
4 | Peak Hour Charges | -- | 0.00
5 | Maximum Demand Charges @ RS 350.00 | 65.00 | 0.00
6 | Meter Rent | -- | 0.00
7 | Electricity Tax | -- | 5857.63
8 | Water Charges | -- | 0.00
9 | Other Charges(+/-) | -- | 0.00
10 | Penalty Charges | -- | 0.00
Total Rs |  |  | 125831.85

## Page 5 - Table 2
Sno | Particulars | Details
1 | Total Building Area(sq.ft) | 225500.00
2 | Occupied Area(sq.ft) | 10000.00
3 | Percentage% of Occupied Area | 4.43%
2 | Common Area Charges(Rs) | 5580.13